Address: Treelands Dr, Yamba NSW 2464

Modules: JA Solar, JAM72S10-410/MR (1000V)

Array Size: 30kWp

Optimisers: P850

Inverter: SE30K

Orientation: 180 Degrees

Tilt: 0 Degrees

A satellite view of a parking lot

Description automatically generated